In this report, parts per million is shortened to ppm.

## Physical and Chemical Water Quality

| Physical state or chemical | Plant effluent average value |
| --- | --- |
| Temperature, River Water Average (°C) | 30.1 |
| Total Organic Carbon (ppm as C) | 5.01 |
| Total Dissolved Solids (ppm) | 155 |
| Turbidity (NTU) | 0.05 |
| Alkalinity-Total (ppm as CaCO3) | 44 |
| Ammonia Nitrogen (ppm as N) | 0.92 |
| Total Chloramine Residual (ppm as NH2Cl) | 3.9 |
| Fluoride-F (ppm as F) | 0.65 |
| pH | 9.04 |
| Nitrate - NO3 (ppm as N) | 0.99 |
| Nitrite - NO2 (ppm as N) | <0.015 |
| Phosphate-PO4 (ppm as PO4) | 0.84 |
| Sulfate - SO4 (ppm as SO4) | 33.4 |
| Total Hardness (grains per gallon) EDTA method | 5.1 |
| Total Hardness (ppm as CaCO3) EDTA method | 87 |

## Chemical Water Quality

| Chemical element | Plant effluent average volume |
| --- | --- |
| Aluminum-Al (ppm as Al) | 0.05 |
| Arsenic-As (ppm as As) | Not Detected |
| Cadmium-Cd (ppm as Cd) | Not Detected |
| Calcium-Ca (ppm as Ca) | 30.8 |
| Chloride-Cl (ppm as Cl) | 29.9 |
| Chromium (ppm as Cr) | <0.01 |
| Copper-Cu (ppm as Cu) | <0.01 |
| Iron-Fe (ppm as Fe) | Not Detected |
| Lead-Pb (ppm as Pb) | Not Detected |
| Magnesium-Mg (ppm as Mg) | 1.52 |
| Manganese-Mn (ppm as Mn) | <0.01 |
| Silica-Si (ppm as SiO2) | 9.38 |
| Sodium-Na (ppm as Na) | 17.4 |
| Zinc-Zn (ppm as Zn) | <0.01 |